Energy Checklist

| Business name |  |
| --- | --- |

Which of the following energy types cost you most?

1 - Highest cost, 4 - Lowest cost

| Energy | Ranking |
| --- | --- |
| Petrol and/ or diesel |  |
| Gas (LPG) |  |
| Electricity (directly or in rates) |  |
| Solid fuel (wood, charcoal, pallets) |  |

What do you use this energy for?

E.g. Transport, generators, heating, cooling, refrigeration, cooking, lighting, appliances

| Energy | Used for: |
| --- | --- |
| Petrol and/ or diesel |  |
| Gas |  |
| Electricity |  |
| Solid fuel (wood, charcoal, pallets) |  |

SECTION 1: FREE MONEY

Which of the following energy saving habits are already part of your business?

1 - Very rarely, 2 - Sometimes, 3 - Almost always

| Energy saving habits | Score |
| --- | --- |
| Lighting |  |
| Turn off lights when not in use (storage, toilets, back of house) |  |
| Outdoor signage turned off after 11pm |  |
| Refrigeration and kitchen equipment |  |
| Fridge set at 3-4℃ and freezer at -18℃ (optimal settings - 5-15% savings) |  |
| Keep doors on fridges, chillers and freezers shut when not in use |  |
| Check seals on fridges & freezer doors and replace if damaged (10-20% energy saving) |  |
| Cooling coils are cleaned every six months (dusty refrigeration coils increase energy use by 10-20%) |  |
| Fridges and freezers are positioned away from heat (cooking, heaters) and sunlight |  |
| Turn equipment on only when it is needed (i.e. ovens, gas hobs, extraction fans, range hoods) – turn off when not in use, start just in time, not too early |  |
| Use the right equipment (i.e. pressure cooking, sous vide, right sized pot) |  |
| Calibrate oven thermostat |  |
| Coffee machines, bar equipment turned off at night or when not in use |  |
| Hot water, heating and cooling |  |
| Eliminate water leaks (especially hot water) – fix taps and joints |  |
| Thermostat set to 60℃ ( 5-15% energy saving) – check temperature at the tap |  |
| HVAC set to optimal conditions as stated in the operating manual or online |  |
| Keep windows and doors closed when operating heating or cooling |  |
| Heat limit controls in guest accommodation |  |
| Transport |  |
| Keep car boot clear, remove any heavy items that you don’t need to carry |  |
| Use the right vehicle for the job – use small car or bike when traveling on your own, and larger vehicles only when there are more people or goods to carry |  |
| Remember to accelerate gently |  |
| Other |  |
| All computers and screens are turned off when not in use |  |
| Talk to staff about saving energy |  |
| Check your bills every month and know where you’re wasting money |  |
| Daily ‘shutdown checklist’ to avoid things left on overnight |  |
| Total score (max 69) |  |

SECTION 2 - UNDER $1K INVESTMENT

What ‘easy energy saving kit’ do you already have?

1- None/very few,  2 - Some, 3 - Almost all

| Energy saving kit | Score |
| --- | --- |
| Lighting |  |
| LED lighting (30-70% cost reduction, payback <6 months) |  |
| Sensors or automated lighting controls in toilets, storage rooms, walk in fridges and offices |  |
| Refrigeration |  |
| Strip curtains or door closers for cold storage rooms |  |
| Kitchen equipment |  |
| Small electric stove |  |
| Shut-off systems for coffee machines, bar equipment, computers, TVs (idle load reduction – 5-10% energy saving) |  |
| Hot water, heating and cooling |  |
| Insulated hot water pipes and tanks |  |
| Timers set on hot water in guest accommodation (10-20% energy savings) |  |
| Low flow valves on showers and taps (shower flow 6-8 litres/min is adequate) |  |
| Shower dome |  |
| Efficient shower heads |  |
| Draught proofing – door and window seals |  |
| Curtains to separate cold and warm spaces and to contain heat in the outdoor areas |  |
| Timers for outdoor heating |  |
| Shades to stop overheating from direct sun |  |
| Transport |  |
| Replace worn tyres with energy efficient, low rolling resistance tyres |  |
| Set up a carpooling system |  |
| Clean air filters, fresh oil, correct wheel alignment, and servicing. |  |
| Total score (max 48) |  |

SECTION 3 THE BIG GAME CHANGER

What ‘game changing energy investment’ have you already implemented?

1 - Haven’t thought about it

2 - Thought about it but not sure where to start or landlord not supportive

3 - Did my research but not yet installed

4 - Already have some

5 - Energy optimised set up

| Investment | Score |
| --- | --- |
| Lighting |  |
| Maximise natural light – windows, skylights, layout |  |
| Refrigeration |  |
| Efficient refrigeration units (if your fridge is older than 10 years – payback 3-5 years) |  |
| Kitchen equipment |  |
| Professional electric stove or other energy efficient cooking equipment (induction cooktops) (payback 2-4 years) – no longer using gas |  |
| Hot water, heating and cooling |  |
| Solar hot water |  |
| Hot water heat pump |  |
| Standard electric hot water cylinder |  |
| Insulation (ceiling, underfloor, ground vapour barrier, walls) |  |
| Double glazing |  |
| Efficient ventilation (roof, bathroom extractor, rangehood) |  |
| Heat-pumps or other energy efficient electric heating |  |
| Wood pallet burner in common areas |  |
| Transport and other |  |
| Install solar panels with or without the battery back up |  |
| Switch to an electric vehicle (EV) |  |
| Replace older vehicles with hybrid or plug-in hybrid models |  |
| Install fleet telematics and route optimisation |  |
| Total score (max 80) |  |

SECTION 4 YOUR ACTION PLAN

This winter I will…

One big investment I will investigate…

I will contact these people to help me…

This is how I will use it in my promotions…

HERE TO HELP

Local Nelson people available to help

- Mission Zero - free advice on energy, waste and carbon

https://www.missionzero.nz/workstream/carbon-clinics

- Absolute Energy

Free insulation assessment - (also insulation installer)

https://absoluteenergy.co.nz/

- Current Generation

Free solar advice - local Nelson provider (also PV installer)

https://www.currentgeneration.co.nz

- Climate Change grants - Nelson City Council funding for energy efficiency and renewables

https://www.nelson.govt.nz/6environment/climate-change/climate-change-grants

- Ekos - carbon footprinting and reduction strategies

https://www.ekos.co.nz

- Electrify Nelson

Free advice and events on electrification https://www.rewiring.nz/communities/nelson,

Electrify Nelson Expo on 29 August, Annesbrook Events Centre

https://electrifynelson.nz/expo

Useful websites

- Money Hub - overview of green loans and grants

https://www.moneyhub.co.nz/green-loans.html

- Sustainability Knowledge Hub (website) from Hospitality NZ

https://hospitality.org.nz/knowledge-hub/sustainability

- Moffat - electric kitchen, catering and bakery equipment manufacturer

https://www.moffat.co.nz

- BNZ - advice on green loans

https://www.bnz.co.nz/business-banking/loans-and-finance/green-business-loans

- Swap One - green commute app

https://swapone.nz/